| Clause | Remarks/Guidelines |
| --- | --- |
| NTT C22 Provision of temporary electricity and water supply to *Works Area(s)/*Site(s) |
| [Version A] Tenderers’ attention is drawn to Particular Specification Clause [X]# on provisions of electricity and water supply to the *Works Areas/*Sites and the application arrangement for temporary electricity and water supply. or | Please refer to DEVB TC(W) No. 13/2020. * Delete/Modify as appropriate. # Insert appropriate reference. Version A – for situation that cables/water mains laying works for electricity and water supply are anticipated to be completed before the scheduled date of site possession. |
| [Version B] Tenderers should note that the Employer has already made applications and settled the respective fees for the supply of temporary electricity and water supply to the *Works Areas/*Sites, with details as more particularly set out in Appendix [see below]. The electricity cable and water mains laying works are in progress. | Version B – for situation that cables/water mains laying works for electricity and water supply may not be able to be completed before the scheduled date of site possession. |
| Appendix […] Electricity cables and water mains under the applications by the Employer will be laid up to the boundary of *Works Areas/*Sites, including WAXX and WAYY [To insert identification of sites concerned]. The electricity load and size of water mains to each of these *Works Areas/*Sites being applied for are set out in the tables below and the respective alignments and connection points are shown in Plan(s) XX [To insert layout plans showing the indicative cable and water main alignment]. *Works Areas/*Sites Temporary electricity load (Amp) e.g. WAXX e.g. 400 e.g. WAYY e.g. 400 *Works Areas/*Sites Size of water mains (Nominal diameter in mm) e.g. WAXX e.g. 200 e.g. WAYY e.g. 100 |  |
| Upon completion of laying the electricity cables, the Contractor shall submit an application to the respective power company, together with a written authorization letter, if required, issued by the *Engineer/ *Surveyor/ *Supervising Officer authorizing the Contractor to make use of the relevant connections for temporary electricity supply to the *Works Areas/*Sites. |  |
| The Contractor shall submit an application1 to the Water Supplies Department, together with a written authorization letter, if required, issued by the *Engineer/ *Surveyor/ *Supervising Officer authorizing the Contractor to make use of the relevant connections for temporary water supply to the *Works Areas/*Sites. | Note 1: WSD accepts application from the Contractor before completion of water mains laying works. |