| Clause | Remarks/Guidelines |
| --- | --- |
| NTT C22 Provision of temporary electricity and water supply to *Working Areas/*Site |  |
| [Version A] Tenderers’ attention is drawn to Particular Specification Clause [X]# on provisions of electricity and water supply to the *Working Areas/*Site and the application arrangement for temporary electricity and water supply. or | Please refer to DEVB TC(W) No. 13/2020. * Delete/Modify as appropriate. # Insert appropriate reference. Version A – for situation that cables/water mains laying works for electricity and water supply are anticipated to be completed before the scheduled date of site possession. |
| [Version B] Tenderers should note that the Client has already made applications and settled the respective fees for the supply of temporary electricity and water supply to the *Working Areas/*Site, with details as more particularly set out in Appendix [see below]. The electricity cable and water mains laying works are in progress. | Version B – for situation that cables/water mains laying works for electricity and water supply may not be able to be completed before the scheduled date of site possession. |
| Appendix […] - Electricity cables and water mains under the applications by the Client will be laid up to the boundary of *Working Areas/*Site, including WAXX and WAYY [To insert identification of sites concerned]. The electricity load and size of water mains to each of these *Working Areas/*Site being applied for are set out in the tables below and the respective alignments and connection points are shown in Plan(s) XX [To insert layout plans showing the indicative cable and water main alignment]. *Working Areas/Site; Temporary electricity load (Amp). e.g. WAXX; e.g. 400. e.g. WAYY; e.g. 400. *Working Areas/Site; Size of water mains (Nominal diameter in mm). e.g. WAXX; e.g. 200. e.g. WAYY; e.g. 100. |  |
| - Upon completion of laying the electricity cables, the Contractor shall submit an application to the respective power company, together with a written authorization letter, if required, issued by the *Project Manager/*Supervisor authorizing the Contractor to make use of the relevant connections for temporary electricity supply to the *Working Areas/*Site. |  |
| - The Contractor shall submit an application1 to the Water Supplies Department, together with a written authorization letter, if required, issued by the *Project Manager/*Supervisor authorizing the Contractor to make use of the relevant connections for temporary water supply to the *Working Areas/*Site. | Note 1: WSD accepts application from the Contractor before completion of water mains laying works. |