| Clause |  | Remarks/Guidelines |
| --- | --- | --- |
| NTT C22 Provision of temporary electricity and water supply to *Affected Property /*Site |  |  |
| [Version A] Tenderers’ attention is drawn to Particular Specification clause [X]# on provisions of electricity and water supply to the *Affected Property /*Site and the application arrangement for temporary electricity and water supply. or | Please refer to DEVB TC(W) No. 13/2020. * Delete/Modify as appropriate # Insert as appropriate Version A – for situation that cables/water mains laying works for electricity and water supply are anticipated to be completed before the scheduled date of site possession. |  |
| [Version B] Tenderers should note that the Client has already made applications and settled the respective fees for the supply of temporary electricity and water supply to the *Affected Property /*Site, with details as more particularly set out in Appendix [see below]. The electricity cable and water mains laying works are in progress. | Version B – for situation that cables/water mains laying works for electricity and water supply may not be able to be completed before the scheduled date of site possession. |  |
| Appendix […] - Electricity cables and water mains under the applications by the Client will be laid up to the boundary of *Affected Property /*Site, including WAXX and WAYY [To insert identification of sites concerned]. The electricity load and size of water mains to each of these *Affected Property /*Site being applied for are set out in the tables below and the respective alignments and connection points are shown in Plan(s) XX [To insert layout plans showing the indicative cable and water main alignment]. *Affected Property /Site; Temporary electricity load (Amp). e.g. WAXX; e.g. 400. e.g. WAYY; e.g. 400. *Affected Property /Site; Size of water mains (Nominal diameter in mm). e.g. WAXX; e.g. 200. e.g. WAYY; e.g. 100. |  |  |
| - Upon completion of laying the electricity cables, the Contractor shall submit an application to the respective power company, together with a written authorization letter, if required, issued by the Service Manager authorizing the Contractor to make use of the relevant connections for temporary electricity supply to the *Affected Property /*Site. |  |  |
| - The Contractor shall submit an application Note 1 to the Water Supplies Department, together with a written authorization letter, if required, issued by the Services Manager authorizing the Contractor to make use of the relevant connections for temporary water supply to the *Affected Property /*Site. Note 1: Water Supplies Department accepts application from the Contractor before completion of water mains laying works. |  |  |